## Slide 1: Elective: Developing Software for Automated MR QC Tests
Neil Heraghty

## Slide 2: Introduction
Initial aim of project was to develop software for performing automated MR QC tests
Following initial work, project was re-focussed towards analysing coil-QA image data
A test dataset has been used to develop Python code for this purpose

## Slide 3: GMRI4 Data
Siemens Skyra 3T
Test data from August 2017 – June 2018
5,566 images in total

## Slide 7: SNR Test

## Slide 8: SNR Test

## Slide 9: SNR Test
SNR = 38.35

## Slide 11: Thoughts
Most coils have insufficient test data
Much of the data is redundant
The “good” data isn’t very consistent

## Slide 12: Further Work
Software needs to be generalised for other systems
Further analysis of coil-element SNR data
Integration of software to analyse QA images automatically